INVITATION TO Bid FOR supply of WATER SUPPLY SYSTEM Materails to

takhar and Badakhshan provinces.

Tender No.: ITB-AFG-SPA-019-KBL-005

Project:  AFG-SPA-019

Title:  Supply of WATER SUPPLY SYSTEM Materials to Takhar and Badakhshan Provinces.

Mission East is seeking a potential supplier for Supply of Water system supply materials to Badakhshan and Takhar for details kindly refer to the table below.  Mission East therefore encourages the qualified /registered suppliers to submit their bids in accordance to the following schedule and specification.

Suppliers shall sign and stamp all pages of the ITB to acknowledge that they agree to the supply of items in accordance with the requirements of the ITB and agree on the mentioned terms and conditions.

| Tender Main Facts Table |
| --- |
| Tender Reference | ITB-AFG-SPA-019-KBL-005 |
| Supplies | Supply of water supply system materials |
| Tender launch date | 16 June 2019 |
| Deadline for request for any clarifications from the Contracting Authority | 19 June 2019, 05:00 pm |
| Last day on which clarifications are issued by the Contracting Authority | 20 June 2019 |
| Deadline for submission of Tenders | 06 July 2019, 5:00 Pm |
| Tender opening session | 08 July 2019 |
| Notification of award to the successful Tenderer | 09 July 2019 |
| Queries | Procurement.afg@missioneast.org |
| Address for submission | Mission East Kabul, House # 275/56, Street Number: 9th (between Kolola Pushta and Taimani), Taimani Road, Kabul, Afghanistan |

- Product and Quantity:

- See item List below (TAKHAR PROVINCE, TALOQAN CITY):

| No. | Description | Quantity | Unit | Unit Cost in AFN | Total Amount in AFN |
| --- | --- | --- | --- | --- | --- |
| 1 | PPR Female Threat socket 32 mm ( سامی داخل چوری 1 انچ ) | 1 | Pcs |  |  |
| 2 | PE male Adopter 32mm ( اتصال بیرون چوری 1 انچ ) | 1 | Pcs |  |  |
| 3 | PPR Tee (32* 25 )mm ( سه راه 1 انچ ×3/4 انچ ) | 1 | Pcs |  |  |
| 4 | PPR Pipe (25mm) ( پیپ 3/4 انچ ) | 12 | m |  |  |
| 5 | PPR Elbow ( 25mm) (زانوخم 3/4 انچ ) | 10 | Pcs |  |  |
| 6 | small filter mesh unit 32mm (فلتر خورد سوراخ دار 1 انچ) | 1 | Pcs |  |  |
| 7 | HDPE Pipe 32 MM Día PE 80 PN 16 ( پیپ 1 انچ پولیتلین ) | 1580 | m |  |  |
| 8 | PE coupling 32MM (رابط ساده 1 انچ ) | 15 | pcs |  |  |
| 9 | Break pressure valve 32mm (وال فشار شکن 1 انچ ) | 1 | pcs |  |  |
| 10 | HDPE Pipe 25 MM Dia PE 80 PN 16 (‌پیپ 3/4 انچ پولیتلین ) | 270 | m |  |  |
| 11 | PE Tee (25x25)mm PN 16 (سه را 3/4 انچ ) | 4 | pcs |  |  |
| 12 | PE Reducer (32x25)mm PN 16 (تبدیل 1 انچ در 3/4 انچ ) | 5 | pcs |  |  |
| 13 | PE coupling 32 mm PN 10 | 9 | Pcs |  |  |
| 14 | PPR Tee (50×50×25 )mm ( سه راه 1/2-1 انچ ×3/4 انچ ) | 1 | Pcs |  |  |
| 15 | small filter mesh unit 50mm (فلتر خورد سوراخ دار 1/2-1 انچ) | 3 | Pcs |  |  |
| 16 | HDPE Pipe 50 MM Dia PE 80 PN 10 ( پیپ 1/2-1 انچ پولیتلین ) | 423 | m |  |  |
| 17 | PE coupling 50MM (رابط ساده 1/2-1 انچ ) | 7 | pcs |  |  |
| 18 | White Cement Fresh Date | 2 | Bag |  |  |
| 19 | Rebar (10mm) ( سیخ گول 10 ملی متری ) | 375 | kg |  |  |
| 20 | PE Male Adopter 63mm PN 16 ( اتصال بیرون چوری 2 انچ پولیتلین) | 2 | Pcs |  |  |
| 21 | PPR Female threat socket 63 mm ( سامی داخل چوری 2 انچ) | 2 | Pcs |  |  |
| 22 | PPR Elbow 63mm ( زانوخم 2 انچ ) | 6 | Pcs |  |  |
| 23 | PPR Pipe 63mm ( پیپ 2 انچ ) | 8 | m |  |  |
| 24 | PPR female union 63 mm ( پیوند داخل چوری 2 انچ ) | 2 | Pcs |  |  |
| 25 | PPR Gate valve 63mm ( گیت وال برنجی 2 انچ ) | 2 | Pcs |  |  |
| 26 | PPR Tee equal (63x63)mm ( سه راه 2 انچ ) | 2 | Pcs |  |  |
| 27 | PPR unequal Tee (63x25)mm ( سه راه 2 انچ در 3/4 انچ ) | 2 | Pcs |  |  |
| 28 | PPR 2 side union 63mm (پیوند ساده 2 انچ) | 1 | Pcs |  |  |
| 29 | PPR unequal Tee (50x25)mm ( سه راه 1/2-1 انچ در 3/4 انچ ) | 2 | Pcs |  |  |
| 30 | PPR 2 side union 25mm (پیوند ساده 3/4 انچ ) | 1 | Pcs |  |  |
| 31 | Cement Fresh date M:400 | 107 | Bag |  |  |
| 32 | Nail 4" | 25 | KG |  |  |
| 33 | PPR Pipe 50mm (پیپ 1/2-1 انچ پی پی آر) | 16 | m |  |  |
| 34 | PPR Elbow 50mm ( زانوخم 1/2-1 انچ ) | 20 | Pcs |  |  |
| 35 | PPR Female union 50mm ( پیوند داخل چوری 1/2-1 انچ‌) | 6 | Pcs |  |  |
| 36 | PPR Female threat socket 50mm ( سامی داخل چوری 1/2-1 انچ ) | 6 | Pcs |  |  |
| 37 | PPR 2 side union 50mm (پیوند ساده 1/2-1 انچ) | 4 | Pcs |  |  |
| 38 | PE Male Adapter 50mm ( اتصال بیرون چوری پولیتلین 1/2-1 انچ ) | 6 | Pcs |  |  |
| 39 | PPR Gate valve 50mm (گیت وال برنجی 1/2-1 انچ) | 5 | Pcs |  |  |
| 40 | PPR Tee equal (50 )mm ( سه راه 1/2-1 انچ ) | 2 | Pcs |  |  |
| 41 | PPR Elbow ( 32mm) (زانوخم 1 انچ ) | 3 | Pcs |  |  |
| 42 | PPR Pipe (32mm) ( پیپ 1 انچ ) | 4 | m |  |  |
| 43 | PPR Female union (32mm) ( پیوند داخل چوری 1 انچ ) | 1 | Pcs |  |  |
| 44 | PPR 2 side union 32mm (پیوند ساده 1 انچ) | 1 | Pcs |  |  |
| 45 | PPR Gate valve (32mm) (گیت وال برنجی 1 انچ) | 1 | Pcs |  |  |
| 46 | HDPE Pipe 40 MM Dia PE 80 PN 10 ( پیپ 3/4-1 انچ پولیتلین ) | 206 | m |  |  |
| 47 | PE Tee (50x40x40)mm PN 10 (سه راه ) | 1 | pcs |  |  |
| 48 | PE Tee (40x40x25)mm PN 10 (سه راه ) | 1 | pcs |  |  |
| 49 | PE Tee (40x32x25)mm PN 10 (سه راه ) | 2 | pcs |  |  |
| 50 | PE Reducer (40x32)mm PN 10 (تبدیل ) | 2 | pcs |  |  |
| 51 | PE coupling 40 mm PN 10 (رابط ) | 4 | pcs |  |  |
| 52 | PPR pipe (3/4)"(25mm) (پیپ) | 50 | m |  |  |
| 53 | GI Nipple (3/4)"(25mm) (شتات جستی ) | 25 | pcs |  |  |
| 54 | GI socket (3/4)"(25mm) (سامی جستی ) | 15 | pcs |  |  |
| 55 | PPR Elbow (3/4)"(25mm) (زانوخم پلاستکی) | 28 | pcs |  |  |
| 56 | PPR Female threat socket (3/4)"(25mm) (سامی داخل چوری ) | 15 | Pcs |  |  |
| 57 | PPR simple threat socket (3/4)"(25mm) (سامی ساده ) | 15 | Pcs |  |  |
| 58 | GI Globe valve (3/4)"(25mm) (شیرسوزنی جستی ) | 15 | pcs |  |  |
| 59 | End cup (3/4)"(25mm) کلا یا سرپوش چوری دار) | 20 | pcs |  |  |
| 60 | GI brass Tap (3/4)"(25mm) (شیردهن جستی ) | 15 | pcs |  |  |
| 61 | threading tops (تیفلون ) | 25 | pcs |  |  |
| 62 | Shovel with handle (1.5kg) (بیل همرای دسته ) | 25 | pcs |  |  |
| 63 | Gloves (rubber) for masonry (دستکش رابری برای سنگ کاری) | 3 | pair |  |  |
| 64 | Leatherer gloves for plumbing (دستکش برای نجاری) | 5 | pair |  |  |
| 65 | Building trowel (wooden) (گل ماله چوبی) | 2 | pcs |  |  |
| 66 | plastering trowel (metallic)(گل ماله فلزی ) | 2 | pcs |  |  |
| 67 | Finishing trowel (Lapita metallic) (گل ماله بادسته فلزی ) | 2 | pcs |  |  |
| 68 | Brush for painting 4" (برش برای رنگمالی) | 2 | pcs |  |  |
| 69 | Brush for painting 2" (برش برای رنگمالی) | 2 | pcs |  |  |
| 70 | oil paint (PEL) 250 gr (رنگ روغنی) | 2 | can |  |  |
| 71 | Round file (سوهان ) | 2 | pcs |  |  |
| 72 | Flat file (سوهان چپات ) | 2 | pcs |  |  |
| 73 | Pipe wrench 24" (پایپ تاو) | 1 | pcs |  |  |
| 74 | Pipe wrench 18" (پایپ تاو) | 1 | pcs |  |  |
| 75 | HDPE Pipe cutter2" (پیپ کتر) | 1 | pcs |  |  |
| 76 | HDPE Pipe cutter ¼" (25-32) mm (پیپ کتر) | 1 | pcs |  |  |
| 77 | Small Plairs (امبورخورد) | 2 | pcs |  |  |
| 78 | Hack saw frame (اره) | 1 | pcs |  |  |
| 79 | Paul Saw (اره خورد ) | 5 | pcs |  |  |
| 80 | Adjusting wrench 10-15" (سکرنچ) | 1 | set |  |  |
| 81 | Metallic Measuring tap 5 m (متر5 متره ) | 2 | pcs |  |  |
| 82 | Metallic Measuring tap 100 m (متر 100 متره ) | 1 | pcs |  |  |
| 83 | ترپال برای احاطه نمودن سمنت plastic Sheet for covering of cement in the site | 1 | pcs |  |  |
| 84 | plastic for cement covering in the site (پلاستیک دبل ) | 40 | Sq.m |  |  |
| 85 | Chlorin powder کلورین | 2 | Kg |  |  |
| 86 | Metallic plumbing box for VMW tools (بکس فلزی) | 1 | pcs |  |  |
| 87 | Metallic Measuring tap 5 m (متر5 متره ) | 1 | pcs |  |  |
| 88 | Metallic Measuring tap 15 m (متر15 متره ) | 1 | pcs |  |  |
| 89 | Screwdriver (پیچکش ) | 1 | pcs |  |  |
| 90 | Pipe wrench 24" (پایپ تاو) | 1 | pcs |  |  |
| 91 | Pipe wrench 12" (پایپ تاو) | 1 | pcs |  |  |
| 92 | Hack saw frame with 5 extra blades (اره ) | 1 | set |  |  |
| 93 | HDPE Pipe cutter 40mm (پایپ کتر ) | 1 | pcs |  |  |
| 94 | Notebook for WUCs and VMWs (40 leaf) (کتابچه) | 10 | pcs |  |  |
| 95 | Pen (Bic) for WUC and VMWs (قلم ) | 10 | pcs |  |  |
| 96 | Board, marker color for training | 1 | Dozen |  |  |
| 97 | Flip chart for training (نقشه ) | 1 | tome |  |  |
| A | Total Amount in Afghani: |  |  |
| 98 | Transportation cost to Wakil Mohammad Nazar street House Number 277, Taloqan city of Takhar, Afghanistan (Mission East offices). | LS | vehicle |  |  |
| B | Total Amount with Transportation in Afghani: |  |  |
|  | Grand Amount of Materials and Transportation (A & B): |  |  |
|  | Note: Quantities and Units maybe increase or Decrease. |

- See item List below (TAKHAR PROVINCE, RUSTAQ DISTRICT):

| No. | Description | Quantity | Unit | Unit Cost in AFN | Total Amount in AFN |
| --- | --- | --- | --- | --- | --- |
| 1 | Cement Fresh date M:400 (100 Bag Deducted from stock) | 210 | Bag |  |  |
| 2 | HDPE Pipe 63 MM Dia PE 80 PN 10 High Standard Pipe ( پایپ پولی اتلین 63 ملی متر ) | 30 | Meters |  |  |
| 3 | HDPE Pipe 50 MM Dia PE 80 PN 10 High Standard Pipe(پایپ پولی اتلین 50 ملی متر) Deducted 700 M from stock | 200 | Meters |  |  |
| 4 | HDPE Pipe 40 MM Dia PE 80 PN 10 High Standard Pipe( پایپ پولی اتلین 40 ملی متر) Deducted 400 M from stock | 775 | Meters |  |  |
| 5 | HDPE Pipe 32 MM Dia PE 80 PN 10 High Standard Pipe (‌پایپ پولی اتلین 32 ملی متر) | 3922 | Meters |  |  |
| 6 | HDPE Pipe 25 MM Dia PE 80 PN 16 High Standard Pipe(‌پایپ پولی اتلین 25 ملی متر ) Deducted 700 M from stock | 4065 | Meters |  |  |
| 7 | HDPE Pipe 32 MM Dia PE 80 PN 16 High Standard Pipe (‌پایپ پولی اتلین 32 ملی متر) | 3372 | Meters |  |  |
| 8 | Wooden plank and timber for framework | 2.45 | Cub |  |  |
| 9 | Binding wire 3 mm for framework | 72 | KG |  |  |
| 10 | Nail 4" | 58 | KG |  |  |
| 11 | PPR Pipe 50mm (پیپ 1/2 - 1انچ پی پی آر) | 32 | m |  |  |
| 12 | PPR Elbow 50mm ( زانوخم 1/2 - 1انچ ) | 24 | Pcs |  |  |
| 13 | PPR Female union 50mm ( پیوند داخل چوری 1/2 - 1انچ‌) | 8 | Pcs |  |  |
| 14 | GI Nipple 50mm ( شتات 1/2 - 1انچ جستی‌) | 11 | Pcs |  |  |
| 15 | PPR Female threat socket 50mm ( سامی داخل چوری 1/2 - 1انچ ) | 8 | Pcs |  |  |
| 16 | PPR 2 side union 50mm (پیوند ساده 1/2 - 1انچ) | 5 | Pcs |  |  |
| 17 | PE Male Adapter 50mm ( اتصال بیرون چوری پولیتلین 1/2 - 1انچ ) | 8 | Pcs |  |  |
| 18 | PPR Gate valve 50mm (گیت وال برنجی 1/2 - 1انچ) | 8 | Pcs |  |  |
| 19 | PPR Tee equal (50 )mm ( سه راه 1/2 - 1 انچ ) | 6 | Pcs |  |  |
| 20 | PPR Elbow ( 32mm) (زانوخم 1 انچ ) | 15 | Pcs |  |  |
| 21 | PPR Pipe (32mm) ( پیپ 1 انچ ) | 22 | m |  |  |
| 22 | PPR Female union (32mm) ( پیوند داخل چوری 1 انچ ) | 5 | Pcs |  |  |
| 23 | GI Nipple 32mm ( شتات 1 انچ‌) | 6 | Pcs |  |  |
| 24 | PPR 2 side union 32mm (پیوند ساده 1 انچ) | 3 | Pcs |  |  |
| 25 | PPR Gate valve (32mm) (گیت وال برنجی 1 انچ) | 4 | Pcs |  |  |
| 26 | PPR Female Threat socket 32 mm ( سامی داخل چوری 1 انچ ) | 6 | Pcs |  |  |
| 27 | PE male Adopter 32mm ( اتصال بیرون چوری 1 انچ ) | 6 | Pcs |  |  |
| 28 | PPR Tee (32* 25 )mm ( سه راه 1 انچ ×3/4 انچ ) | 4 | Pcs |  |  |
| 29 | PPR Pipe (25mm) ( پیپ 3/4 انچ ) | 128 | m |  |  |
| 30 | PPR Elbow ( 25mm) (زانوخم 3/4 انچ ) | 82 | Pcs |  |  |
| 31 | small filter mesh unit 32mm (فلتر خورد سوراخ دار 1 انچ) | 17 | Pcs |  |  |
| 32 | Rebar (14mm) | 35 | kg |  |  |
| 33 | White Cement Fresh Date | 3 | Bag |  |  |
| 34 | Rebar (10mm) | 815 | kg |  |  |
| 35 | Binding wire 1 mm | 10 | kg |  |  |
| 36 | PE Male Adopter 63mm PN 16 ( اتصال2 انچ پولیتلین) | 5 | Pcs |  |  |
| 37 | PPR Female threat socket 63 mm ( سامی داخل چوری 2 انچ) | 5 | Pcs |  |  |
| 38 | PPR Elbow 63mm ( زانوخم 2 انچ ) | 17 | Pcs |  |  |
| 39 | PPR Pipe 63mm ( پیپ 2 انچ ) | 24 | m |  |  |
| 40 | GI Nipple 63mm ( شتات جستی 2 انچ ) | 8 | Pcs |  |  |
| 41 | PPR female union 63 mm ( پیوند داخل چوری 2 انچ ) | 5 | Pcs |  |  |
| 42 | PPR Gate valve 63mm ( گیت وال برنجی 2 انچ ) | 5 | Pcs |  |  |
| 43 | PPR Tee equal (63x63)mm ( سه راه 2 انچ ) | 4 | Pcs |  |  |
| 44 | PPR 2 side union 63mm (پیوند ساده 2 انچ) | 3 | Pcs |  |  |
| 45 | PE Saddle Bast (sidle) (50×25)mm Polyrod PN 16 سیدل | 5 | pcs |  |  |
| 46 | PE Saddle Bast (sidle) (40×25)mm Polyrod PN 16 سیدل | 8 | pcs |  |  |
| 47 | PE Tee (50x40x25)mm PN 16 (سه راه ) | 2 | pcs |  |  |
| 48 | PE Tee (50x40x40)mm PN 16 (سه راه ) | 5 | pcs |  |  |
| 49 | PE Tee (40x40x25)mm PN 16 (سه راه ) | 3 | pcs |  |  |
| 50 | PE Tee (32x32x25)mm PN 16 (سه راه ) | 4 | pcs |  |  |
| 51 | PE Tee (32x25x25)mm PN 16 (سه راه ) | 2 | pcs |  |  |
| 52 | small filter mesh unit 50mm (فلتر خورد سوراخ دار 3/4 - 1 انچ) | 1 | pcs |  |  |
| 53 | PPR unequal Tee (50x25)mm ( سه راه 3/4 - 1 انچ در 3/4 انچ ) | 2 | Pcs |  |  |
| 54 | Stainless wire rope clips (Clamps) (12) ( کلیفت ) | 290 | pc |  |  |
| 55 | Metallic stand for Pipe Network Cable Crossing (ستند فلزی برای کش کردن کیبل ) | 7 | pc |  |  |
| 56 | PE Reducer (50x40)mm PN 10 (تبدیل ) | 2 | pcs |  |  |
| 57 |  |  |  |  |  |
| 58 | PE Reducer (40x32)mm PN 16 (تبدیل ) | 4 | pcs |  |  |
| 59 | PE Reducer (40x25)mm PN 16 (تبدیل ) | 1 | pcs |  |  |
| 60 | PE Reducer (32x25)mm PN 16 (تبدیل ) | 7 | pcs |  |  |
| 61 | PE coupling 50 mm PN 16 (رابط ) | 8 | pcs |  |  |
| 62 | PE coupling 40 mm PN 16 (رابط ) | 12 | pcs |  |  |
| 63 | PE coupling 32 mm PN 16 ( رابط ) | 92 | pcs |  |  |
| 64 | PE coupling 25 mm PN 16 (رابط ) | 65 | pcs |  |  |
| 65 | GI Nipple (3/4)"(25mm) (شتات جستی ) | 60 | pcs |  |  |
| 66 | GI socket (3/4)"(25mm) (سامی جستی ) | 32 | pcs |  |  |
| 67 | PPR Female threat socket (3/4)"(25mm) (سامی داخل چوری ) | 38 | Pcs |  |  |
| 68 | PPR simple threat socket (3/4)"(25mm) (سامی ساده ) | 33 | Pcs |  |  |
| 69 | GI Globe valve (3/4)"(25mm) (شیرسوزنی جستی ) | 38 | pcs |  |  |
| 70 | End cup (3/4)"(25mm) کلا یا سرپوش چوری دار) | 39 | pcs |  |  |
| 71 | HDPE Male Adopter (3/4)"(25mm) PN 16 (اتصال بیرون چوری ) | 32 | pcs |  |  |
| 72 | GI brass Tap (3/4)"(25mm) (شیردهن جستی ) | 38 | pcs |  |  |
| 73 | threading tops (تیفلون ) | 45 | pcs |  |  |
| 74 | Metallic Cable (wire rope) Dia 12mm (کیبل 12) | 310 | m |  |  |
| 75 | Metallic Cable (wire rope) Dia 6 mm (کیبل 6) | 262 | m |  |  |
| 76 | Metallic Measuring tap 15 m (متر15 متره ) | 1 | pc |  |  |
| 77 | Stainless wire rope clips (Clamps) (24) (کلیفت ) | 25 | pc |  |  |
| 78 | Shovel with handle (1.5kg) (بیل همرای دسته ) Deducted 32 Pcs from stock | 38 | pcs |  |  |
| 79 | pickaxe with handle good quality (کلن همرای دسته ) Deducted 14 Pcs from stock | 21 | pcs |  |  |
| 80 | Local pickaxe (زاغنول)with handle | 11 | pcs |  |  |
| 81 | Gloves (rubber) for masonry (دستکش رابری برای سنگ کاری) | 5 | pair |  |  |
| 82 | Leatherer gloves for plumbing (دستکش برای نجاری) | 10 | pair |  |  |
| 83 | Building trowel (wooden) (گل ماله چوبی) | 4 | pcs |  |  |
| 84 | plastering trowel (metallic)(گل ماله فلزی ) | 4 | pcs |  |  |
| 85 | Finishing trowel (Lapita metallic)(گل ماله بادسته فلزی ) | 3 | pcs |  |  |
| 86 | Brush for painting 4" (برش برای رنگمالی) | 4 | pcs |  |  |
| 87 | Brush for painting 2" (برش برای رنگمالی) | 4 | pcs |  |  |
| 88 | oil paint (PEL) 250 gr (رنگ روغنی) | 4 | can |  |  |
| 89 | Round file (سوهان ) | 4 | pcs |  |  |
| 90 | Flat file (سوهان چپات ) | 4 | pcs |  |  |
| 91 | Big hammer good quality (چکش کلان ) | 5 | pcs |  |  |
| 92 | Crowbar ( جبل ) | 5 | pcs |  |  |
| 93 | Rubber buckets (ستل رابری) | 7 | pcs |  |  |
| 94 | Big pliers (امبورکلان) | 3 | pcs |  |  |
| 95 | Chisel (40cm long) made of Axil (اسکنه ) | 3 | pcs |  |  |
| 96 | Pipe wrench 24" (پایپ تاو) | 3 | pcs |  |  |
| 97 | Pipe wrench 18" (پایپ تاو) | 3 | pcs |  |  |
| 98 | HDPE Pipe cutter2" (پیپ کتر) | 3 | pcs |  |  |
| 99 | HDPE Pipe cutter ¼" (25-32) mm (پیپ کتر) | 2 | pcs |  |  |
| 100 | Small pliers (امبورخورد) | 4 | pcs |  |  |
| 101 | Hack saw frame ( دسته اره) | 3 | pcs |  |  |
| 102 | Paul Saw ( پل اره خورد ) | 20 | pcs |  |  |
| 103 | Adjusting wrench 10-15" (سکرنچ) | 2 | set |  |  |
| 104 | Metallic Measuring tap 5 m (متر5 متره ) | 6 | pcs |  |  |
| 105 | Metallic Measuring tap 100 m (متر 100 متره ) | 2 | pcs |  |  |
| 106 | ترپال برای احاطه نمودن سمنت plastic Sheet for covering of cement in the site | 2 | pcs |  |  |
| 107 | Pen for WUC and VMWs (قلم ) | 50 | pcs |  |  |
| 108 | Board marker in 4 colors for training (تخته ومارکر) | 2 | Dozen |  |  |
| 109 | Flip chart for training (نقشه ) | 2 | tome |  |  |
| 110 | plastic for cement covering in the site (پلاستیک دبل ) | 10 | Sq.m |  |  |
| 111 | Metallic plumbing box for maintenance tools (بکس فلزی) | 2 | pcs |  |  |
| 112 | Notebook for WUCs and VMWs (40 leaf) (کتابچه) | 20 | pcs |  |  |
| 113 | PE Break pressure valve 32MM (وال فشارشکن 1 انچ ) | 2 | pcs |  |  |
| 114 | small filter mesh unit 63mm (فلتر خورد سوراخ دار 2 انچ) | 1 | pcs |  |  |
| 115 | PPR unequal Tee (63x25)mm ( سه راه 2 انچ در 3/4 انچ ) | 1 | Pcs |  |  |
| 116 | PPR 2 side union 25mm (پیوند ساده 3/4 انچ ) | 2 | Pcs |  |  |
| 117 | PE Tee (63x50x25)mm PN 10 (سه راه ) | 1 | pcs |  |  |
| 118 | PE Tee (40x40x40)mm PN 10 (سه راه ) | 2 | pcs |  |  |
| 119 | PE Tee (40x40x32)mm PN 10 (سه راه ) | 2 | pcs |  |  |
| 120 | PE Tee (40x32x32)mm PN 10 (سه راه ) | 2 | pcs |  |  |
| 121 | PE Tee (32x32x25)mm PN 16 (سه راه ) | 2 | pcs |  |  |
| 122 | PE Tee (32x25x25)mm PN 16 (سه راه ) | 4 | pcs |  |  |
| 123 | PE Tee (25x25x25)mm PN 16 (سه راه ) | 7 | pcs |  |  |
| 124 | PE Reducer (63x50)mm PN 10 (تبدیل ) | 2 | pcs |  |  |
| 125 | PE Reducer (50x40)mm PN 10 (تبدیل ) | 2 | pcs |  |  |
| 126 | Cable (Wire rope) clips or clamps (24) (کلیفت ) | 6 | pc |  |  |
| 127 | Cable (Wire rope) clips or clamps (12) ( کلیفت) | 75 | pc |  |  |
| 128 | PPR Automatic valve for school RVT 3/4" | 1 | Pcs |  |  |
| 129 | PPR 1/2-1 side union 50mm (پیوند ساده 1/2-1 انچ) | 1 | Pcs |  |  |
| 130 | GI Nipple 25mm ( 3/4"شتات جستی ) L=20 cm | 3 | Pcs |  |  |
| 131 | Digging Casing Installation of 3 bore wells in hard strata with koba machine 13", Depth of each wells 65 meters, in Rustaq district, Sokhta Qala, Aas Acha Quruq Villages | 195 | M |  |  |
| 132 | Installation of 3 tube wells hand pump with completed works | 3 | LSM |  |  |
| 133 | Bore well digging machinery one way transportation cost to field of Project (2 bore wells in Sokhta Qala, 1 bore wells in Aas-acha quruq) | 1 | LSM |  |  |
| 134 | PVC Casing Pipe (6"dia)(Class–B) Fro Tube wells Schedule-80-32kg weight of Each 4 meters PC(خاده), | 174 | M |  |  |
| 135 | PVC Filter Casing Pipe (6"dia)(Class – B) For Tube wells schedule-80-32kg weight of Each PC(خاده) | 36 | M |  |  |
| 136 | PVC Raising Pipe (2"dia) Fro Tube wells (Class B) weight of each 3 meters PC(4kg) | 189 | M |  |  |
| 137 | Pamir hand pump Completed set without steel rods-Steel Rod is Exist in stock (Pamir handle metallic-1pc, stand pump wih 4 nut Nut and bolt 13, Rod hanger-1 pc, Plastic slander-1 pc, Flanger 1 pc, Rubber cone - 1 pc, Eshtel cone -1 pc, Rod centerlizer-23 pc,Full hanger pen-1 pc), | 3 | SET |  |  |
| 138 | Nillon Treat Rope (12mm) | 450 | M |  |  |
| 139 | Glu (Mark-717) for Tube wells PVC Casing connection (1 Can=1 Kg) | 6 | Can |  |  |
| 140 | Mellitic Screw 3" (Exist in Stock) | 0 | Can |  |  |
| 141 | Completed Set of Tool Box For Well maintainer including (2pc plug spanner(wringer baxwana 24),1set Huwk saw frams with 5 extra blades,1pc Pin Hock for rod remover ,1 can Glue(Raze 1 kg) for pump mechanic(VMW) | 3 | SET |  |  |
| 142 | Cement fresh date M:400 | 18 | Bag |  |  |
| A | Total Amount in Afghani: |  |  |
| 143 | Transportation cost to Takhar province Rustaq district-In front of teacher training colleague-Qanduhari house | LS | vehicle |  |  |
| B | Total Amount with Transportation in Afghani: |  |  |
|  | Grand Amount of Materials and Transportation (A & B): |  |  |
|  | Note: Quantities and Units maybe increase or Decrease. |

- See item List below (BADAKHSHAN PROVINCE, Faizabad City):

| No. | Description | Quantity | Unit | Unit Cost in AFN | Total Amount in AFN |
| --- | --- | --- | --- | --- | --- |
| 1 | Cement Fresh date | 803.36 | Bag |  |  |
| 2 | Glass wool (width 120cm) for Protecting Pipe Crossings | 36 | pc |  |  |
| 3 | White Plastic Sheet | 20 | M |  |  |
| 4 | Hat (White color) | 7 | Pc |  |  |
| 5 | Vest (Cloth) | 7 | Pc |  |  |
| 6 | Shoes Leather for Food safety Size (42,41,43) | 7 | Pc |  |  |
| 7 | Sun shine Glasses | 10 | Pc |  |  |
| 8 | Shovel with handle (China) (1.5kg) | 85 | pcs |  |  |
| 9 | pickaxe with handle (China) good quality | 60 | pcs |  |  |
| 10 | Local pickaxe (زاغنول)with handle | 25 | pcs |  |  |
| 11 | Handle for pickaxe | 40 | pcs |  |  |
| 12 | Handle for Shovel | 24 | pcs |  |  |
| 13 | Wheelbarrow | 8 | pcs |  |  |
| 14 | Tire for wheelbarrow | 8 | pcs |  |  |
| 15 | Wheel for wheel barrow | 7 | pcs |  |  |
| 16 | Tube for wheelbarrow | 8 | pcs |  |  |
| 17 | Gloves (rubber) for masonry | 20 | pair |  |  |
| 18 | Leatherer gloves for plumbing | 16 | pair |  |  |
| 19 | Building trawel (wooden) | 4 | pcs |  |  |
| 20 | plastering travel (metallic) | 4 | pcs |  |  |
| 21 | Brush for painting 4" | 4 | pcs |  |  |
| 22 | Brush for painting 2" | 4 | pcs |  |  |
| 23 | Big hammer good quality | 20 | pcs |  |  |
| 24 | Crowbar Length = 170 cm good quality | 16 | pcs |  |  |
| 25 | Rubber buckets | 8 | pcs |  |  |
| 26 | Big Plairs | 20 | pcs |  |  |
| 27 | Chisel (40cm long) made of Axil | 40 | pcs |  |  |
| 28 | Metallic Measuring tap 5 m | 8 | pcs |  |  |
| 29 | Metallic Measuring tap 100 m | 4 | pcs |  |  |
| 30 | Hack saw frame with 5 extra blades | 8 | set |  |  |
| 31 | HDPE Pipe cutter 50mm | 8 | pcs |  |  |
| 32 | Steel Bar 14 mm | 395.34 | KG |  |  |
| 33 | Steel Bar 12 mm | 1205.79 | KG |  |  |
| 34 | Steel Bar 10 mm | 1148 | KG |  |  |
| 35 | Steel bar 8 mm (Stirrups) | 132 | KG |  |  |
| 36 | Steel bar 6 mm for Pedal Slab | 6 | KG |  |  |
| 37 | Binding wire 1.5 mm | 55 | KG |  |  |
| 38 | Nail 4" | 65 | KG |  |  |
| 39 | Rebar Cutter 42" | 4 | Pc |  |  |
| 40 | Steel cable 14mm | 27 | M |  |  |
| 41 | Steel cable10mm | 30 | M |  |  |
| 42 | Cable Clip 14mm Dia for Cable Crossings | 4 | Pc |  |  |
| 43 | Cable Clip 10mm Dia for Cable Crossings | 30 | Pc |  |  |
| 44 | Steel Cable 14 mm | 120 | M |  |  |
| 45 | Steel Cable 10 mm | 350 | M |  |  |
| 46 | Adjusting Cable 14 mm for Cable Crossings | 12 | Pc |  |  |
| 47 | Cable Clip 14mm Dia for Cable Crossings | 24 | Pc |  |  |
| 48 | Cable Clip 10mm Dia for Cable Crossings | 150 | Pc |  |  |
| 49 | Glass wool (width 120cm) for Protecting Pipe Crossings | 6 | M |  |  |
| 50 | White Plastic Sheet | 20 | M |  |  |
| 51 | HDPE Pipe 50 MM Dia PE 80 PN 16 | 962 | M |  |  |
| 52 | HDPE Pipe 50 MM Dia PE 80 PN 10 | 462 | M |  |  |
| 53 | HDPE Pipe 40 MM Dia PE 80 PN 10 | 7797.2 | M |  |  |
| 54 | HDPE Pipe 32 MM Dia PE 80 PN 16 | 2947.2 | M |  |  |
| 55 | HDPE Pipe 25 MM Dia PE 80 PN 16 | 2965 | M |  |  |
| 56 | HDPE Pipe 20 MM Dia PE 80 PN 16 | 3835 | M |  |  |
| 57 | HDPE Straight Coupling 50 mm PN16 | 18 | Pc |  |  |
| 58 | HDPE Straight Coupling 40 mm PN16 | 46 | Pc |  |  |
| 59 | HDPE Straight Coupling 32 mm PN16 | 65 | Pc |  |  |
| 60 | HDPE Straight Coupling 25 mm PN17 | 28 | Pc |  |  |
| 61 | HDPE Straight Coupling 20 mm PN17 | 28 | Pc |  |  |
| 62 | PE Unequal Tee ( 50x50x40) mm Polyrod PN 16 | 12 | Pc |  |  |
| 63 | PE Unequal Tee ( 40x40x32) mm Polyrod PN 16 | 19 | Pc |  |  |
| 64 | PE Unequal Tee ( 32x32x25) mm Polyrod PN 16 | 15 | Pc |  |  |
| 65 | PE Unequal Tee ( 25x25x20) mm Polyrod PN 16 | 19 | Pc |  |  |
| 66 | PE Equal Tee ( 20x20x20) mm Polyrod PN 16 | 9 | Pc |  |  |
| 67 | PE Reducer (50x40)mm Polyrod PN 16 | 20 | Pc |  |  |
| 68 | PE Reducer (40x32)mm Polyrod PN 16 | 22 | Pc |  |  |
| 69 | PE Reducer (32x25)mm Polyrod PN 16 | 30 | m |  |  |
| 70 | PE Reducer (25x20)mm Polyrod PN 16 | 42 | Pc |  |  |
| 71 | HDPE Pipe 40 MM Dia PE 80 PN 16 | 3923.7 | M |  |  |
| 72 | PE Saidle (50*20) | 7 | Pc |  |  |
| 73 | HDPE Female Adopter (63mm) Polyrod PN 16 | 3 | Pc |  |  |
| 74 | HDPE Female Adopter (50mm) Polyrod PN 16 | 12 | Pc |  |  |
| 75 | HDPE Female Adopter (40mm) Polyrod PN 16 | 8 | Pc |  |  |
| 76 | HDPE Female Adopter (32mm) Polyrod PN 16 | 8 | Pc |  |  |
| 77 | HDPE Female Adopter (20mm) Polyrod PN 16 | 39 | Pc |  |  |
| 78 | HDPE Adopter (63mm) Polyrod PN 16 | 2 | Pc |  |  |
| 79 | HDPE Adopter (50mm) Polyrod PN 16 | 3 | Pc |  |  |
| 80 | HDPE Adopter (40mm) Polyrod PN 16 | 2 | Pc |  |  |
| 81 | Automatic Break Pressure for Tap stand | 17 | Pc |  |  |
| 82 | GI Pipe 1½" or (50mm) | 68 | M |  |  |
| 83 | GI Pipe 1¼"or (40mm) | 84 | M |  |  |
| 84 | GI Pipe ¼" or (25 mm) | 18 | M |  |  |
| 85 | GI Pipe ½" or (20 mm) | 186 | M |  |  |
| 86 | GI Strainer 1½"or (50mm) | 7 | Pc |  |  |
| 87 | GI Strainer1¼"or (40mm) | 5 | Pc |  |  |
| 88 | GI Elbow 2" or (63mm) | 13 | Pc |  |  |
| 89 | GI Elbow 1½"or (50mm) | 45 | Pc |  |  |
| 90 | GI Elbow 1¼"or (40mm) | 30 | Pc |  |  |
| 91 | GI Elbow ¼"or (25mm) | 8 | Pc |  |  |
| 92 | GI Elbow ½"or (20mm) | 139 | Pc |  |  |
| 93 | GI Union 2"or (63mm) | 5 | Pc |  |  |
| 94 | GI Union 1½"or (50mm) | 18 | Pc |  |  |
| 95 | GI Union 1¼"or (40 mm) | 19 | Pc |  |  |
| 96 | GI Union ¼"or (25 mm) | 4 | Pc |  |  |
| 97 | GI Union ½"or (20 mm) | 22 | Pc |  |  |
| 98 | GI Nipple 1½"or (50mm) | 76 | Pc |  |  |
| 99 | GI Nipple 1¼"or (40mm) | 49 | Pc |  |  |
| 100 | GI Nipple ¼"or (25mm) | 12 | Pc |  |  |
| 101 | GI Nipple ½"or (20mm) | 20 | Pc |  |  |
| 102 | Socket ½" 20mm | 98 | Pc |  |  |
| 103 | GI equal Tee 2"* 2"*¼" or(63"x63"x25) | 4 | Pc |  |  |
| 104 | GI Unequal Tee 2"*2"1½"or(63x63x50) | 4 | Pc |  |  |
| 105 | GI equal Tee 1½"* 1½"or(50x50x50) | 8 | Pc |  |  |
| 106 | GI Unequal Tee 1½"*½"or(50x50x20) | 12 | Pc |  |  |
| 107 | GI equal Tee 1¼"* 1¼"or(40x40x40) | 10 | Pc |  |  |
| 108 | GI Unequal Tee 1¼"*½"or(40x40x20) | 10 | Pc |  |  |
| 109 | GI GAte valve 1½"or (50mm) | 16 | Pc |  |  |
| 110 | GI Gate valve 1½"or (40mm) | 7 | Pc |  |  |
| 111 | Tap Brass (400g) ½" | 96 | Pc |  |  |
| 112 | Control valve ½" (0.5mm) | 52 | Pc |  |  |
| 113 | Tephlone tape ( Threading Tape)(پن) | 90 | Pc |  |  |
| 114 | GI Gate valve 2"or (63mm) | 3 | Pc |  |  |
| 115 | GI Gate valve 2"or (63mm) | 3 | Pc |  |  |
| 116 | GI Nipple 2"or (63mm) | 10 | Pc |  |  |
| 117 | GI Strainer 2 "or (63mm) | 1 | Pc |  |  |
| 118 | GI Pipe 2" or (63mm) | 6 | M |  |  |
| 119 | Metallic plumbing box for VMW tools | 4 | pcs |  |  |
| 120 | Metallic Measuring tap 5 m | 4 | pcs |  |  |
| 121 | Metallic Measuring tap 15 m | 4 | pcs |  |  |
| 122 | Screwdriver | 4 | pcs |  |  |
| 123 | Pipe wrench 24" | 4 | pcs |  |  |
| 124 | Pipe wrench 18" | 4 | Pc |  |  |
| 125 | Pipe wrench 12" | 4 | pcs |  |  |
| 126 | wooden plank (300*18*2.5)cm | 96 | Pc |  |  |
| 127 | wooden plank (200*18*2.5)cm | 64 | Pc |  |  |
| 128 | wooden timber th= 200*8*8 cm | 101 | Pc |  |  |
| A | Total Amount in Afghani: |  |  |
| 129 | Transportation cost to Faizabad new city PD 3, main road of Emam Bukhari Masjid Street Mission East offices. All pipes, steel bars and steel cables should be delivering to field Argo district (Maida do ghalat, Pista khor, Now Abad Kohna Batash) and Drayem district (Sari khotal) | LS | vehicle |  |  |
| B | Total Amount with Transportation in Afghani: |  |  |
|  | Grand Amount of Materials and Transportation (A & B): |  |  |
|  | Note: Quantities and Units maybe increase or Decrease. |

| No. | Mission East Active offices | Total given amount in each District and Province |
| --- | --- | --- |
| 1 | TAKHAR PROVINCE, TALOQAN CITY |  |
| 2 | TAKHAR PROVINCE, RUSTAQ DISTRICT |  |
| 3 | BADAKHSHAN PROVINCE, Faizabad City |  |
| 5 | Total Amount in Afghani: |  |

- Quality

All the materials listed above must be high quality.

Mission East will not accept any quality of material that is not carried out according to the specification provided in this tender

Mission East reserves the right to inspect the quality of materials or have a third party inspect the quality of the materials at the time of loading and unloading and both Mission East and the supplier agree to be bound by the advice of the third party regarding the quality of the materials and their suitability for use. Any additional inspections arising due to difficulties in assessment of materials shall be borne by the chosen supplier.

The supplier obtaining highest marks in terms of best value for money shall be called for providing the samples, upon the inspection of goods supplier will be informed on acceptance/rejection of the samples.

- Packing

- Original company packing.

- Marking

- Original Company Marking.

- Language of Tenders

The communication between the Bidder and the Contracting Authority and all documents related to the Tender can be in Pashto, Dari or English.

- Delivery Conditions

Ultimate date of delivery:   Delivery shall be made by one week after signing the contract.

.

Force Major:	Should the delivery of items be stalled or delayed due to force Major, the supplier should inform Mission East immediately (not later than 1 day)

Delivery location:	Transportation cost to Wakil Mohammad Nazar street House Number 277, Taloqan city of Takhar, Rustaq district-In front of teacher training colleague-Qanduhari house, Faizabad new city PD 3, main road of Emam Bukhari Masjid Street Mission East offices. All pipes, steel bars and steel cables should be delivering to field Argo district (Maida do ghalat, Pista khor, Now Abad Kohna Batash) and Drayem district (Sari khotal)  Afghanistan (Mission East offices).

- Price

The price quoted in the tender must be DDP to the delivery address as specified under 'Delivery Conditions'.  Supplier shall bear the cost of unloading from the delivery address,

The price quoted is to be in Afghani.

The price quoted will be definite and free from possible currency fluctuations.

- Currency

Tenders must be presented in Afghani currency (AFS)

- Validity Period

All offers submitted for this Tender remain valid for (30) calendar days from date of closure of the Tender invitation

- Quantity and Quality control

The chosen supplier is responsible for the quality and quantity of the commodities.

The consignment will be inspected on quality and quantity at the time and place of loading and unloading by an inspection company nominated or technical representatives of Mission East and paid by Mission East. Any and each additional inspection shall be payable by the chosen supplier.

- Documents

The bidder when submitting bid for this ITB must also submit the following documents, as lack of the following documents might cause disqualification.

- Copy of AISA registration and TIN certificate.

- National ID card of Company’s director.

- Copy of similar contract from other organizations.

- Sample for each items listed above.

- Payment

Payment will be made by transfer to the bank account of supplier, the supplier should submit details of bank account together with this quotation, bank account must be under company name. The invoice from the chosen supplier should include information about the supplier’s address.

In case of incomplete delivery, Mission East will pay only for the quantity received, on a pro rata basis, according to the report by the official inspection company.

In case of delivery of more than the amount specified in the Purchase Order the chosen supplier will be paid only for the quantity specified in the Purchase Order.

Payment will be made within 7 days after presentation of all the required documents including written confirmation from the Consignee.

Payment will be made in Afghani.

The price mentioned in the bid should be fixed and free from possible currency fluctuations.

- Bid Bond

No bid bond shall be required

- Guarantee

The supplier is required to submit a performance bond valued at 10% of the value of this Supply value. If the supplier refuses to fulfil their obligation as mentioned in this invitation to tender, their guarantee will be retained until the provisions of this terms and conditions have been fulfilled to the full satisfaction of Mission East. Mission East reserves the right to keep the guarantee if the terms and conditions for this Supply order are not fulfilled to their satisfaction.

- Penalties

In the event of a delay in delivery caused by other than by force majeure, Mission East is entitled to apply a penalty of 1/1000 (one per thousand) of the value of the goods per day of late delivery after the ultimate delivery date (as specified in ‎6. Delivery Conditions). This penalty will be deducted from the invoice.

- Tax

According to Article 72 of the Income Tax Law of Ministry of Finance (MoF). Contractors with      business licences qualify for the 2% rate only if they are providing goods and/or services within the scope of their licence agreement, Otherwise, they are subject to withholding at the 7% rate. According to this the tax will be deducted from supplier’s invoice and will be paid to government by ME.

- Award Criteria

The contract or Purchase Order will be awarded on the basis of best value for money, according to the principles and objectives of humanitarian aid. This means that not only the cost of goods and delivery will be taken in account but also other factors such as the country of origin of the goods.

Before awarding the contract, Mission East may require to visit prospective suppliers to confirm their compliance with the requirements of this Invitation to tender or request other evidence to verify their ability to successfully handle the order.

- Ineligibility criteria

Tenderers falling into any of the following cases are excluded from participation in the procurement procedure:

(a) They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are the subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations;

(b) They have been convicted of an offence concerning their professional conduct by a judgement that has the force of res judicata;

(c) They have been guilty of grave professional misconduct proven by any means that the contracting authority can justify;

(d) They have not fulfilled obligations relating to the payment of social security contributions or the payment of taxes in accordance with the legal provisions of the country in which they are established or with those of the country of the contracting authority or those of the country where the contract is to be performed;

(e) They have been the subject of a judgement that has the force of res judicata for fraud, corruption, involvement in a criminal organisation or any other illegal activity detrimental to the Communities' financial interests;

(f) Following another procurement procedure or grant award procedure financed by the European Community budget, they have been declared to be in serious breach of contract for failure to comply with their contractual obligations.

(g) They are engaged in the exploitation of child labour

(h) They do not respect their employees’ basic social rights and working conditions.

Candidates or tenderers must provide a written statement with their tender documents that they are not in one of the situations listed above.

- Grounds for Exclusion

Contracts shall not be awarded to candidates or tenderers who, during the procurement procedure:

(a) Are subject to a conflict of interest;

(b) Are guilty of misrepresentation in supplying the information required by the humanitarian organisation as a condition of participation in the contract procedure or fail to supply this information.

(c) Have engaged in corrupt, fraudulent, collusive or coercive practices.

# 20.  CANCELLATION OF THE TENDER PROCEDURE

In the event of a Tender procedure’s cancellation, Tenderers will be notified by the Contracting Authority.

Cancellation may occur where:

- The Tender procedure has been unsuccessful, namely where no qualitatively or financially worthwhile Tender has been received or there has been no valid response at all

- The economic or technical parameters of the project have been fundamentally altered

- Exceptional circumstances or force majeure render normal implementation of the project impossible

- All technically compliant Tenders exceed the financial resources available

- There have been irregularities in the procedure, in particular where these have prevented fair competition

- The award is not in compliance with sound financial management, i.e. does not respect the principles of economy, efficiency and effectiveness (e.g. the price proposed by the Bidder to whom the contract is to be awarded is objectively disproportionate with regard to the price of the market)

- In no event shall the Contracting Authority be liable for any damages in any way connected with the cancellation of a Tender. The publication of a procurement notice does not commit the Contracting Authority to the order.

- Donor requirements Regarding Suppliers

”No offer, payment, consideration or benefit of any kind, which could be regarded as an illegal or corrupt practice, shall be made, promised, sought or accepted - neither directly nor indirectly - as an inducement or reward in relation to activities funded under this agreement, incl. tendering, award or execution of contracts. Any such practice will be grounds for the immediate cancellation of this agreement/contract and for such additional action, civil and/or criminal, as may be appropriate. At the discretion of the Royal Danish Ministry of Foreign Affairs, a further consequence of any such practice can be the definite exclusion from any tendering for projects funded by the Danish Ministry of Foreign Affairs

- Tender Conditions

All bids should clearly specify whether all of the above conditions will be accepted.  Bids which are not or only partly in conformity with the tender terms and conditions risk to be excluded from participation.

All bids shall include a valid business license, or might not be considered for the evaluation.

Bids can be submitted at any of the below mentioned addresses:

Mission East Office,

| Mission East Kabul, House # 275/56, Street Number: 9th (between Kolola Pushta and Taimani), Taimani Road, Kabul, Afghanistan. | Contact Person: Zabiullah Bismil Phone No: +93 788405467 E-mail Address: procurement.afg@missioneast.org |
| --- | --- |
| Note: In case you face difficulties finding the address, for queries related to technical aspects of the project, kindly contact the technical person through e-mail. |

Unsealed bids shall be considered disqualified, The Envelop shall contain below mentioned information, Tender No.ITB-AFG-SPA-019-KBL-005 and the other information mentioned below:

Please confirm that you are willing to accept the above conditions:

|  | agreed by Bidder |
| --- | --- |
| Name of Bidder |  |
| Position / Title |  |
| Date: |  |
| Signature and STAMP |  |
| Name of Tendering organisation: |  |
| Telephone Number |  |
| Address |  |