**Nutrition unit Medical equipment list**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **No** | **Item** | **Specification** | **Brand** | **Quantity** | **Unit price** | **Total price** | **Remarks** |
| 1 | Body Composition Analyzer | 2-3 frequencies, multi compartments bioelectrical analyzer | inbody 270, South Korea | 4 |  |  |  |
| 2 | Weighing Scale, flat | flat weighing scale for each clinical wards hospitals | Seca 760, Germany | 32 |  |  |  |
| 3 | Weighing Scale, standing | office base scale for CMU | Seca 769, Germany | 8 |  |  |  |
| 4 | Weighing Scale, new born | new born scale | Seca 334, Germany | 4 |  |  |  |
| 5 | Weighing Scale, chair | measuring weight in limited mobility patients | Seca 952, Germany | 4 |  |  |  |
| 6 | Weiging scale, bed | measuring weight in bed rest patients | Balas 9040, Iran/SR801 | 4 |  |  |  |
| 7 | Stadiometer | measuring height for children and adults | Seca 270, Germany | 8 |  |  |  |
| 8 | Infantometer | measuring newborn and infants length | Seca 416, Germany | 4 |  |  |  |
| 9 | Skinfold measuring caliper | measuring skinfold thickness | Harpenden, UK or Holtain, UK | 8 |  |  |  |
| 10 | Handgrip dynamometer | measuring handgrip force/muscle force | Jamar, USA | 8 |  |  |  |
| 11 | Measuring tape | mid arm circumference/head circumference |  | 20 |  |  |  |
| 12 | Measuring cup | 500 ml measuring cup |  | 20 |  |  |  |
| 13 | Jug container | 500 ml steel jug container with lid |  | 120 |  |  |  |
| 14 | Weighing scale | Food specialized weighing scale |  | 4 |  |  |  |

**Laboratory Medical equipment**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **No** | **Item** | **Specification** | **Brand** | **Quantity** | **Unit price** | **Total price** | **Remarks** |
| 1 | BIA (Bio electrical impedance Analysis) | To Assess body composition |  | 1 |  |  |  |
| 2 | Indirect calorimetery | Used to measures 'energy' expenditure |  | 1 |  |  |  |
| 3 | Nutrition software | Analyze diets |  | 1 |  |  |  |
| 4 | Bed | Used for indirect calorimetery |  | 1 |  |  |  |
| 5 | Weighting scales, flat | Measuring weight |  | 4 |  |  |  |
| 6 | Weighing Scale, standing | Measuring weight |  | 1 |  |  |  |
| 7 | Skin fold callipers | Measring skinfold thickness |  | 5 |  |  |  |
| 8 | Blood pressure instrument | Used to anthropometric assessment |  | 2 |  |  |  |
| 9 | Height meters | Measuring height |  | 4 |  |  |  |
| 10 | Measuring tapes | Mid arm circumference/head circumference |  | 5 |  |  |  |
| 11 | Stethscopes | Used to anthropometric assessment |  | 2 |  |  |  |
| 12 | Handgrip dynamometer | Measuring handgrip force/muscle force |  | 2 |  |  |  |
| 13 | A fire extinguisher | For Laboratory |  | 1 |  |  |  |
| 14 | A medical kit box | For Laboratory |  | 1 |  |  |  |