REQUEST FOR PROPOSAL

To:

All interest bidders

| Date of Issue: | 15 Sep 2020 |
| --- | --- |
| RFP No.: | Lot No. 1/WASH RIDPsHC |
| Contract Title: | Construction of WASH Structures |
| Closing Date: | 05 Oct 2020 |
| Contracting Authority: | Afghan Development Association (ADA) Office, House # 274, Street 1, Zabul Watt, Behind Bayan University, District 3, Kart-e-Chahar, Kabul Afghanistan Contact Person: Eng. Munir Rashid Mobile No. 0785505188, 0779604256 Email: procurement@ada.org.af zarar.2009@yahoo.com |

Afghan development Association invites you to submit a proposal for construction and rehabilitation

Dear Sir/Madam,

The construction and rehabilitation is required for our WASH Response to IDPs and Host Communities Project (WASH-RIDPsHC) in Uruzgan province of Afghanistan. The project’s duration is May 3, 2020 – May 2, 2020. WASH Response to IDPs and Host Communities (WASH-RIDPsHC) Project’s Water, Sanitation, and Hygiene components in Uruzgan is being implemented by Afghan Development Association (ADA) in partnership with Norwegian Church Aid (NCA) backed by Afghanistan Humanitarian Fund (AHF). The aim of the project is “to reduce the risk of morbidity and mortality of 18,735 conflict-affected IDPs and underserved host communities through better access to WASH infrastructure”. The project is consisting of WASH constructions such as, household level latrines, rehabilitation of school latrines, rehabilitation and digging of wells, health clinic sanitation system, distribution of hygiene kits and conduction of hygiene promotion sessions are specifically designed for the improvement of the lives of beneficiaries in order to live with dignity and respect in their localities. The target groups of the project are vulnerable recent IDPs, returned IDPs, returnees, and the host communities via an intervention supported by NCA. Please find enclosed the following documents, which constitute the Request for Proposal:

A – Instructions

Annex 1: Technical Specifications and Requirements

Annex 2: Design Documents and Drawings

Annex 3: Proposal Submission Form (to be completed by the Candidate)

The link is provided at the end of proposal.

If this document is a PDF format, upon request, a complete copy of the above documents can be forwarded in MS. WORD format for electronic completion. It is forbidden to make alterations to the text.

We should be grateful if you would inform us by e-mail of your intention to submit or not a proposal.

INSTRUCTIONS

In submitting, a proposal the Candidate accepts in full and without restriction the special and general conditions including annexes governing this Contract as the sole basis of this procedure, whatever his own conditions of services may be, which he hereby waives. The Supplier are expected to examine carefully and comply with all instructions, forms, contract provisions and specifications contained in this Request for Proposal.

- Scope of works

The Works required by the Contracting Authority are described in the Technical Specifications in Annex 1.

## The Candidate bears sole liability for examining with appropriate care the Request for Proposal, including those design documents available for inspection, and for obtaining reliable information with respect to all conditions and obligations that may in anyway affect the amount or nature of the proposal or the execution of the works. In the event that the Candidate is successful, no claim for alteration of the proposal amount will be entertained on the grounds of errors or omissions in the obligations of the Candidate described above.

- Cost of proposal

The Candidate shall bear all costs associated with the preparation and submission of his proposal and the Contracting Authority is not responsible or liable for these costs, regardless of the conduct or outcome of the process.

- Contractual conditions

The terms and conditions of the Contract which will be entered into between the Contracting Authority and the selected Candidate will be those contained in the Contract together with the General Terms and Conditions for Works Contracts – Ver2 2018 attached as annexes to this Request for Proposal.

- Eligibility and qualification requirements

Supplier are not eligible to participate in this procedure if they are in one of the situations listed in article 59 of the General Terms and Conditions for Works Contracts - Ver2 2018.

Supplier shall in the Proposal Submission Form attest that they meet the above eligibility criteria. If required by the Contracting Authority, the Candidate whose proposal is accepted shall further provide evidence satisfactory to the Contracting Authority of its eligibility.

Supplier are also required to certify that they comply with the Code of Conduct for Contractors.

- Exclusion from award of contracts

Contracts may not be awarded to Supplier who, during this procedure:

- are subject to conflict of interest

- are guilty of misrepresentation in supplying the information required by the Contracting Authority as a condition of participation in the Contract procedure or fail to supply this information.

- Documents comprising the Request for Proposal

The Candidate shall complete and submit the following documents with his/her proposal:

- Proposal Submission Form (Annex 3) duly completed and signed by the Candidate.

- Company profile

- Valid business license

- Work Plan

And any other material and information which should be provided and made known to the Contracting Authority.

The proposal and all correspondence and documents related to the Request for Proposal exchanged by the Candidate and the Contracting Authority must be written in the language of the procedure, which is English.

- Financial proposal

The Financial Proposal shall be presented as an amount in AFN in the Proposal Submission Form in Annex 3. The remuneration of the Contractor under the Contract will be on a global basis. The financial proposal must be presented as a global price and be submitted using the table in the Proposal Submission Form.

The amounts entered in the Bill of Quantities will be used for calculating payments and interim payments and for valuing variations.

The Candidate will be deemed to have taken full account of all requirements and obligations, whether expressed or implied, covered by all parts of this Request for Proposal and to have priced the items in the Bill of Quantities accordingly. The amount must therefore include for all incidental and contingent expenses and risks of every kind necessary to construct, complete and maintain the whole of the Works in accordance with the Contract. Unless separate items are provided in the Bill of Quantities, rates and sums include all costs involved in the various items in the Bill of Quantities. The item descriptions given in the Bill of Quantities will in no way limit the Contractor's obligations under the Contract to provide all the works described elsewhere. Notwithstanding any limits which may be implied by the wording of individual items, the amounts entered will be deemed to be works that are complete in every respect.

Tax

Withholding Tax on Subcontractor:

Government withholding Tax: Pursuant to Article 72 in the Afghanistan Tax law effective March 21, 2009, NCA is required withhold “contractor” taxes from the gross amount payable to all Afghan for-profit subcontractor/vendors with aggregate amount of AFN 500,000.00 or greater and transfer this to the Ministry of Finance. In accordance with this requirement, NCA shall withhold 2% tax from all gross invoices from subcontractors/vendors under this Agreement with active AISA or Ministry of Commerce License. For subcontractors /vendors without active AISA or Ministry of Commerce license, NCA shall withhold seven percent 7% “contractor” tax per current Afghanistan Tax law

- Laws of country of works’ execution

By submitting his/her proposal the Candidate is deemed to have knowledge of and to have taken into consideration all relevant laws, acts and regulations of ADA and Afghanistan that may in any way affect or govern the operations and activities covered by the proposal and the resulting Contract.

- Lots

Different lots maybe divided into different suppliers, based on the previous experiences and reasonable cost.

- Validity

Proposals shall remain valid and open for acceptance for 30 days after the closing date.

- Submission of proposals and closing date

Proposals must be received at the address mentioned on the front page in a sealed envelope not later than the closing date and time specified on the front page.

- Evaluation of proposal

The evaluation method will be the quality and cost based selection. A two-stage procedure shall be utilised in evaluating the Proposals: a technical evaluation and a financial evaluation.

Proposals will be ranked according to their combined technical (St) and financial (Sf) scores using the weights <40>% for the technical proposal; and <60>% for the offered price. Each proposal’s overall score shall therefore be: St X <40>% + Sf X <60>%.

Substantial responsiveness, technical responsiveness and correction of errors

The Contracting Authority will determine whether the proposals meet the eligibility requirements, have been properly signed, are substantially responsive to the Request for Proposal, have any material errors in computation, and are otherwise generally in order. The Contracting Authority will also proceed with a summary examination of the technical qualities of each proposal classifying them as technically responsive or non-responsive. If a proposal is not substantially responsive i.e. it contains material deviations from or reservations to the terms, conditions and specifications of the Request for Proposal, and/or is technically non-responsive, it shall not be considered further, unless the Candidate having made the non-responsive proposal is authorized by the Contracting Authority to re-submit immediately a substantially and technically responsive proposal.

Proposals determined to be substantially responsive and technically responsive will be checked by the Contracting Authority for any arithmetic errors. Where there is a discrepancy between the amounts in the figures and words, the amount in words will govern. If a Candidate refuses to accept the correction, his proposal will be rejected.

Negotiations

The Contracting Authority reserves the right to contact the Supplier having submitted proposals determined to be substantially and technically responsive, in order to propose negotiation of the terms of such proposals. Negotiations will not entail any substantial deviation to the terms and conditions of the Request for Proposal, but shall have the purpose of obtaining from the Supplier better conditions in terms of technical quality, implementation periods, payment conditions, etc.

Negotiations may however have the purpose of reducing the scope of the Works or revising other terms of the Contract in order to reduce the proposed remuneration when the proposed remunerations exceed the available budget.

- Award criteria

The Contracting Authority will award the Contract to the Candidate who appears to have the capability and resources to carry out the Contract effectively, which has been determined to be substantially responsive to the documents of the Request for Proposal and which has obtained the highest overall score.

- Signature and entry into force of the Contract

Prior to the expiration of the period of the validity of the proposal, the Contracting Authority will inform the successful Candidate in writing that his/her proposal has been accepted and inform the unsuccessful Supplier in writing about the result of the evaluation process.

The Contracting Authority and the successful candidate shall in cooperation prepare all documents listed in the Draft Contract, in order to include therein all details of the successful proposal. Within 7 days of notification of the award of the Contract, the successful Candidate shall submit to the Contracting Authority, for its consent, a final Programme of Implementation.

Within 7 days of receipt of the Contract, not yet signed by the Contracting Authority, the successful Candidate must sign and date the Contract and return it with the Performance Guarantee, to the Contracting Authority. On signing the Contract, the successful Candidate will become the Contractor and the Contract will enter into force once signed by the Contracting Authority.

If the successful Candidate fails to sign and return the Contract and the Performance Guarantee within the days stipulated, the Contracting Authority may consider the acceptance of the proposal to be cancelled without prejudice to the Contracting Authority's right to claim compensation or pursue any other remedy in respect of such failure, and the successful Candidate will have no claim whatsoever on the Contracting Authority.

- Cancellation for convenience

The Contracting Authority reserves the right to accept any proposal or reject any or all proposals at any time prior to the award of the Contract, without thereby incurring any liability to the Supplier. The Contracting Authority reserves the right to initiate a new invitation to submit a proposal.

Annex 1: technical specifications and Requirements

Borehole and latrine Construction technical specifications & Scope of Work

A1) Understanding this specification

The following technical specifications apply to all WASH-RIDPsHC improved water Supply and sanitation construction activities and will be applicable in any contract awarded under this RFP. The terms and conditions applicable to the successful Offeror’s work will be contained in the Contract to be signed by both parties, but will include these technical specifications.  If the Offeror does not understand anything written in this specification, they should consult the ADA/NCA WASH Technical Engineer or their representative for clarification. Offerors are asked to familiarize themselves with the content of Afghanistan WASH Technical Guidelines and Manuals for WASH facilities on improved WASH-RIDPSHC construction and project implementation.

A2) Materials and Workmanship

All the works noted in this specification must be carried out to the highest standard, using only the best tools, machinery, materials and skilled workmen. Certifications of all earth-moving equipment and materials to the quality specifications given hereunder must be shown to their representative for written approval before starting WASH-RIDPSHC construction work on the ground.

A3) Storage of Materials, Tools and Equipment

All materials and equipment for use in the WASH-RIDPSHC construction work must be stored in a safe place. If any material can be damaged they must be replaced. All machinery should be serviceable on-site. Enough consumables for machineries such as fuel, lubricants and hydraulic fluid should be stocked on site.

A4) Site in Charges

The Contractor must employ an experienced and knowledgeable site-in-charge who must be full time on site to supervise the WASH-RIDPSHC construction work at all times. Such an individual must be conversant with earth works and heavy earth moving equipment. The site in-charge will also oversee other civil works such as the installation of hand-pump, digging borehole, school latrines, and household latrines construction work as well.

A5) WASH-RIDPSHC construction sites

ADA will indicate the construction sites and secure the required permission for the use of the land where the contract is to be carried out from the Local Authority responsible for the area. The Contractor will be responsible for all the damages occurring outside the allocated land.

A6) Cleaning of the Construction site

When all construction work is complete, the Contractor must remove any construction debris, remove or flatten (as ordered by a representative of ADA) on the WASH-RIDPSHC and make the whole area of the site clean and ready for use.

B) WASH-RIDPSHC Construction Requirement

B1) Twelve New Bore Wells for Construction

ADA indicated the construction locations for 12 new bore wells under WASH-RIDPSHC Project. The main idea for construction of these bore wells are to provide safe drinking water for the targeted communities, which they are, using unsafe water for drinking or there is lack of water.

It is requested from the contractor to construct a sustainable bore-well for each targeted location based to the WASH Engineering standards as described on the attached BoQ. The hand pump would be with good standard quality.

B2) Sixty-Eight Existing Wells for Rehabilitation

ADA indicated the construction locations for 68 Rehabilitation of wells under WASH-RIDPSHC Project. The main idea for rehabilitation of these wells are to provide safe drinking water for the targeted communities which they are using unsafe water for drinking or there is lack of water.

It is requesting from the contractor to rehabilitate a sustainable well for each targeted location based to the WASH Engineering standards as described on the attached BoQ. The hand pump would be with good standard quality.

B3) Water quality Testing

The Contractor will submit a detailed pre-test and post-test of water quality from new and rehabilitation wells to be sure is the water safe and drinkable. ADA/NCA will share the template and other necessary tools for testing of well water.

C) Construction of a Sanitation System for Health Clinic and Rehabilitation of Latrines for two Schools

ADA indicated the locations of a sanitation system (latrine) for a health clinic and two sets of latrines for rehabilitation in two schools) with septic tanks, the specification and measurement is on the drawing attached. It is designed steel concrete structure and the partition will don by borne breaks with good quality as described in the BoQs and specified in the drawings. The foundations will be constructed with good quality of stonemasonry. Plumbing and commode installation, it is very important to install good quality pipes and storage tank to be workable in cold weather as well and have high on ice and cold weather. The septic tanks will be constructed according to standard engineering quality and easily to draining the tank.

D) Construction of Household Level Latrines (190) and Bathing Spaces (190)

ADA selected the locations of household latrines (190) and bathing spaces (190) their specifications, measurements, designs, drawing, and BoQs are attached for your more information. The construction work needs to be done according to the good quality as described in the BoQs and specifications mentioned above.

E) Provision of Labour Work Opportunities

Due to limited availability of daily labour in local market, the contractor is highly encouraged to provide working opportunities to the affected people/beneficiaries as unskilled labourers (daily wager) in the construction work of WASH structures in Shah Mansoor, Gogarak, Kaftar Khana and Karizona villages of Tirinkot, Uruzgan province.

Note for Consideration: The volume of construction and/or rehabilitation works might differ than the below attached drawings and BoQs to little extent in some parts of the constructions (health clinic latrine) and rehabilitations (existing wells for rehabilitation and one school latrine) in targeted villages, therefore, the construction company should take this into serious notice to do the constructions and rehabilitations according to ADA/NCA needs in Tirinkot, Uruzgan.

Background information

Shah Mansoor, Gogarak, Kaftar Khana and Karizona villages of Tirinkot, Uruzgan

ADA in partnership with NCA is implementing WASH Response to IDPs and Host Communities Project (WASH-RIDPsHC) in Uruzgan province of Afghanistan. The project’s duration is May 3, 2020 – May 2, 2020. WASH Response to IDPs and Host Communities (WASH-RIDPsHC) Project’s Water, Sanitation, and Hygiene components in Uruzgan. The aim of the project is “to reduce the risk of morbidity and mortality of 18,735 conflict-affected IDPs and underserved host communities through better access to WASH infrastructure”. The project is consisting of WASH constructions such as, household level latrines, rehabilitation of school latrines, rehabilitation and digging of wells, health clinic sanitation system, distribution of hygiene kits and conduction of hygiene promotion sessions are specifically designed for the improvement of the lives of beneficiaries in order to live with dignity and respect in their localities. The target groups of the project are vulnerable recent IDPs, returned IDPs, returnees, and the host communities via an intervention supported by NCA.

REQUIREMENTS

- INSPECTION AND TESTING (article 31 and 44 of the General Terms and Conditions for Works Contracts – Ver2 2018)

# Tests to be carried out, testing equipment and instruments to be provided by the Candidate and practical arrangements for testing

- VEHICLES AND TRUCKS

To be provided by Contractor

- MATERIALS AND SUPPLIES

To be provided by Contractor

- EQUIPMENT

To be provided by Contractor

- ACCOMMODATION ON SITE FOR THE ENGINEER/LABOUR

To be provided by Contractor

- SITE

Location, site plans, specific conditions, office accommodation/other premises

- timing and IMPLEMENTATION

Expected period of execution - 75 Days

Expected starting date - 15 October 2020

Expected completion date – 15 December 2020

ANNEX 2: DESIGN DOCUMENTS AND DRAWINGS

New Bore-Wells Drawing

Clinic Latrine

School Latrine for Rehabilitation

Household Level Latrine

Household Level Bathing Space

Annex 3: PROPOSAL SUBMISSION FORM

My financial proposal for the services is as following:

| FINANCIAL PROPOSAL SUMMARY |  |  |
| --- | --- | --- |
|  | Currency | Amount Incl. tax |
| Grand Total Amount | AFN |  |

| Lot#01 - Bill of Quantity (BoQ) for 12 New Bore Well |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Province: Uruzgan |  |  |  |  |  |  |
| District: Trinkot |  |  |  |  |  |  |
| Village: Shah Mansoor, Gogarak, Kaftar Khana and Karizona (Shawali Kariz, Khairabad Kariz and Baqir Kariz) |  |  |  |  |  |  |
| No | Item | Unit | Quantity | Unit cost AFN incl. Tax | Total cost in AFN incl. Tax | Remarks |
| 1 | Drilling borehole (14 inch diameter) | m | 1200 |  |  |  |
| 2 | Gravel pack (river type) | cum | 60 |  |  |  |
| 3 | Complete hand pump (Afridev type- Pamir) | No | 12 |  |  |  |
| 4 | Steel rad | No | 324 |  |  |  |
| 5 | PCC aprone | LS | 12 |  |  |  |
| 6 | screen pipe 6" Class C | m | 300 |  |  |  |
| 7 | Casing 6" Class C | m | 972 |  |  |  |
| 8 | Raising main pipe 2 inches in diameter | No | 324 |  |  |  |
| 9 | Safety rope | m | 3000 |  |  |  |
| 10 | Glue for joints | No | 60 |  |  |  |
| 11 | Screw for PVC pipe and filter connection | No | 1200 |  |  |  |
| 12 | Cleaning and pump test (each well will be pump tested for the duration of six hours) | Hrs | 72 |  |  |  |
| 13 | Installation Cost | LS | 12 |  |  |  |
| 14 | Water test inculding physical and biological (after construction), while, chemical test is required prior to construction | LS | 12 |  |  |  |
| 15 | Sign board (branding) | No | 12 |  |  |  |
|  | Sub-Total |  |  |  |  |  |

| Lot#02 - Bill of Quantity (BoQ) for 56 Well Rehabilitation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Province:Uruzgan |  |  |  |  |  |  |  |
| District: Trinkot Center |  |  |  |  |  |  |  |
| Villages: Shah Mansoor, Kaftar Khana, Gogarak and Karizona (Baqir Kariz, Charmgar, Khairabad, Khosh Kharab, Safar Kariz and Shahwali Kariz) |  |  |  |  |  |  |  |
| Sr. No. | Item | Quantity | Num of well | Total Quantity | Unit | Unit cost AFN Incl Tax | Total cost AFN Incl Tax |
| 1 | Complete hand pump (Pamir) set | 1 | 56 | 56 | No |  |  |
| 2 | Steel rad | 20 | 56 | 1120 | No |  |  |
| 3 | PCC aprone with drainage system | 1 | 56 | 56 | LS |  |  |
| 4 | Raising main pipe 2 inches in diameter | 20 | 56 | 1120 | No |  |  |
| 5 | Safety rope | 180 | 56 | 10080 | m |  |  |
| 6 | Glue for joints | 4 | 56 | 224 | No |  |  |
| 7 | Cleaning and pump test | 6 | 56 | 336 | Hrs |  |  |
| 8 | Sign board (branding) | 1 | 56 | 56 | No |  |  |
| 9 | Installation cost | 1 | 56 | 56 | LS |  |  |
|  | Total Amount |  |  |  |  |  |  |

Note for Consideration: The volume of rehabilitation works might differ than the above drawings and BoQs to little extent in some parts of the rehabilitations of existing wells in targeted villages, therefore, the construction company should take this into serious notice to do the rehabilitations according to ADA/NCA needs in Tirinkot, Uruzgan.

| Lot#03 - Bill of Quantity (BoQ) for 12 Protection ex dug well Rehabilitation |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Province:Uruzgan |  |  |  |  |  |  |  |
| District: Trinkot city |  |  |  |  |  |  |  |
| Villages: Shah Mansoor, Kaftar Khana, Gogarak and Karizona (Baqir Kariz, Charmgar, Khairabad, Khosh Kharab, Safar Kariz and Shahwali Kariz) |  |  |  |  |  |  |  |
| Sr. No. | Item | Quantity | Num of well | Total Quantity | Unit | Unit cost AFN Incl Tax | Total cost AFN Incl Tax |
| 1 | cleaning and deepening of well | 2 | 12 | 24 | m |  |  |
| 2 | Complete hand pump (Pamir) set | 1 | 12 | 12 | No |  |  |
| 3 | RCC bottom ring of well | 2.0 | 12 | 24 | No |  |  |
| 4 | RCC top ring of well | 2.0 | 12 | 24 | No |  |  |
| 5 | RCC top ring cover of well | 1.0 | 12 | 12 | No |  |  |
| 6 | RCC beam under top ring of well | 2.0 | 12 | 24 | No |  |  |
| 7 | steel rad | 20 | 12 | 240 | No |  |  |
| 8 | PCC aprone with drainage system | 1 | 12 | 12 | LS |  |  |
| 9 | Raising main pipe 2 inches in diameter | 20 | 12 | 240 | m |  |  |
| 10 | Safety rope | 180 | 12 | 2160 | m |  |  |
| 11 | Glue for joints | 3 | 12 | 36 | No |  |  |
| 12 | Cleaning and pump test | 6 | 12 | 72 | Hrs |  |  |
| 13 | Sign board (branding) | 1 | 12 | 12 | No |  |  |
|  | Total Amount |  |  |  |  |  |  |

Note for Consideration: The volume of rehabilitation works might differ than the above drawings and BoQs to little extent in some parts of the rehabilitations of existing wells in targeted villages, therefore, the construction company should take this into serious notice to do the rehabilitations according to ADA/NCA needs in Tirinkot, Uruzgan.

| Lot#04 - Bill of Quantity (BoQ) for Health Clinic Latrines with Septic and Drinking Water |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Province: Uruzgan |  |  |  |  |  |
| District:Trinkot City |  |  |  |  |  |
| Village: Khayro Kariz |  |  |  |  |  |
| Title | Description of work | Unit | Quantity | Unit cost AFN Incl Tax | Total cost AFN Incl Tax |
| 1 | Excavation of foundation in Grad 3 land With transportation of excavitional Materials and all of its Rquirment. | m3 | 27.6 |  |  |
| 2 | Stone Masonry of foundation & (Kursy) with (1:6 ) (Crushed stone should be used, the sand and water will be cleaned, the cement will be fresh not older than 3 month) | m3 | 8.10 |  |  |
| 3 | Bricks masonry burnt bricks with 1:5 cement mortar (M250) well burnt brick will be used, the cement will be fresh, the sand and water is clean | m3 | 13.7 |  |  |
| 4 | RCC (footing, column, beam, slab, apron, foundation of solar stand and stand tap with drine - including steel works and shuttering according to the drawing) 1:1,5:3 M200 (the cement should be portlan or Mahir tajiki cement, the aggregate should be crused and well washed) | m3 | 7.7 |  |  |
| 5 | PCC (under stone, floor, stairs, pavement) 1:2:4 M 150 (the cement should be portlan or Mahir tajiki cement, the aggregate should be crused and well washed) | m3 | 2.7 |  |  |
| 6 | Doors + windows According to drawing (The timber will be localy produced wood or available in nearest market) | m2 | 8.66 |  |  |
| 7 | Plastering of in side and out side (1:4, M 250) (The sand is clean and the cement is fresh, the thickness of plastering is 1.5 cm) | m2 | 53 |  |  |
| 8 | Filling with soil and compaction (Any type of soil can be used but it should be well compacted) | m3 | 5 |  |  |
| 9 | Filling with stone 10 cm of floor | m3 | 3 |  |  |
| 10 | Supply and installation of floor terrazzoTiles | m2 | 6.7 |  |  |
| 11 | Supply and installation of wall Tiles | m2 | 14 |  |  |
| 12 | Painting with Plastic Paint 100% inside (Inside and outside building three coats plastic painting, surrounding walls painiting three coats, ) | m2 | 19 |  |  |
| 13 | Painting of outside building with Plastic Paint 100% | m2 | 34 |  |  |
| 14 | Oil Painting | m2 | 8.6 |  |  |
| 15 | Glass fitting for windows (5 mm glass will be used for the windows) | m2 | 1.6 |  |  |
| 16 | Water supply with reservoir from Iron 1.5mm (500 Lit ) with insulation & bricks masonry around reservoir | lump sum | 1 |  |  |
| 17 | Making of hand rall for ramps | m/l | 10 |  |  |
| 18 | Floor and wall insulation (bitumen) | m2 | 109 |  |  |
| 19 | Gutters work from GI sheet 24 gage 10X15 cm) complet | lump sum | 1 |  |  |
| 20 | Solar system with solar solary 16 panel 250 watt,metal frime for soler panal with (6 bulps, 6switches, wire 2.5ml), submersible water pump 3hp . | lump sum | 1 |  |  |
| 21 | Project sign board (30x40cm) marble stone | Num | 1 |  |  |
|  | Total Amount |  |  |  |  |

Note for Consideration: The volume of construction works might differ than the above drawings and BoQs to little extent in some parts of the constructions of health clinic latrine in Tirinkot centre, therefore, the construction company should take this into serious notice to do the constructions according to ADA/NCA needs in Tirinkot, Uruzgan.

| Lot#05 - Bill of Quantity (BoQ) for School Latrines Rehabilitation (Saydal Khan School) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Province: Uruzgan |  |  |  |  |  |
| District:Trinkot City |  |  |  |  |  |
| Village: Nahia 2 |  |  |  |  |  |
| Title | Description of work | Unit | Quantity | Unit cost Incl Tax | Total cost AFN Incl Tax |
| 1 | PVC Doors + windows according to the area ( With out doors frem | m2 | 30.00 |  |  |
| 2 | Supply and installation of floor terrazzoTiles | m2 | 70 |  |  |
| 3 | Supply and installation of wall Tiles | m2 | 10 |  |  |
| 4 | Painting with Plastic Paint 50% inside (Inside and outside building three coats plastic painting, surrounding walls painiting three coats, ) | m2 | 200 |  |  |
| 5 | Painting of outside building with Plastic Paint 100% | m2 | 250 |  |  |
| 6 | Oil Painting | m2 | 60 |  |  |
| 7 | Glass fitting for windows (5 mm glass will be used for the windows) | m2 | 3.45 |  |  |
| 8 | Water supply with reservoir from Iron 1.5mm (3000 Lit) with insulation | lump sum | 1 |  |  |
| 9 | Project sign board (30x40cm) marble stone | Num | 1 |  |  |
|  | Total Amount |  |  |  |  |

| Lot#06 - Bill of Quantity (BoQ) for School Latrines Rehabilitation (Khairabad School) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Province: Uruzgan |  |  |  |  |  |
| District:Trinkot City |  |  |  |  |  |
| Village: Khayrabad |  |  |  |  |  |
| Title | Description of work | Unit | Quantity | Unit cost AFN Incl Tax | Total cost AFN Incl Tax |
| 1 | RCC ( slab including steel works and shuttering according to the area) 1:1,5:3 M200 (the cement should be portlan cement, the aggregate should be crused and well washed) | m3 | 5.2 |  |  |
| 2 | PCC (under stone, floor, stairs, pavement) 1:2:4 M 150 (the cement should be portlan or Mahir tajiki cement, the aggregate should be crused and well washed) | m3 | 4.2 |  |  |
| 3 | Windows According to drawing (The timber will be localy produced wood or available in nearest market) | m2 | 1.25 |  |  |
| 4 | Plastering of in side and out side (1:4, M 250) (The sand is clean and the cement is fresh, the thickness of plastering is 1.5 cm) | m2 | 147 |  |  |
| 5 | Supply and installation of floor terrazzoTiles | m2 | 27.5 |  |  |
| 6 | Supply and installation of wall Tiles | m2 | 60 |  |  |
| 7 | Painting with Plastic Paint 50% inside (Inside and outside building three coats plastic painting, surrounding walls painiting three coats, ) | m2 | 80.25 |  |  |
| 8 | Painting of outside building with Plastic Paint 100% | m2 | 68.8 |  |  |
| 9 | Oil Painting | m2 | 18.8 |  |  |
| 10 | Glass fitting for windows (5 mm glass will be used for the windows) | m2 | 1.25 |  |  |
| 11 | Making of hand rall for ramps | m/l | 3 |  |  |
| 12 | Electrical work (6 bulps, switches, 1 socket, wire 2.5ml) | cell | 5 |  |  |
| 13 | Floor and wall insulation (bitumen) | m2 | 46 |  |  |
| 14 | Repairing of roof.50 meter Ibeem Wooden plank1.5 cm thick (timber) and Gader gutters work from GI sheet 24 gage 10X15 cm) complet | lump sum | 1 |  |  |
| 15 | Project sign board (30x40cm) marble stone | Num | 1 |  |  |
|  | Total Amount |  |  |  |  |

Note for Consideration: The volume of rehabilitation works might differ than the above drawings and BoQs to little extent in some parts of the rehabilitations of one school latrine only (Saydal Khan) in targeted location, therefore, the construction company should take this into serious notice to do the rehabilitations according to ADA/NCA needs in Tirinkot, Uruzgan.

| Lot#07 - Bill of Quantity (BoQ) for 190 Household Latrines Construction |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Province: Uruzgan |  |  |  |  |  |
| District: Trinkot |  |  |  |  |  |
| Village: Shah Mansoor, Kaftar Khana, Gogarak and Karizona (Baqir Kariz, Gul Jamee, Charmgar, Khairabad, Khosh Kharab, Safar Kariz and Shahwali Kariz) |  |  |  |  |  |
| No. | Item | Quantity | Unit | Unit cost AFN Incl Tax | Total cost AFN Incl Tax |
| 1 | Dry Stone masonry | 665 | m3 |  |  |
| 2 | RCC slab (140*140*10)cm (M:200, 1:1.5:3) | 190 | pcs |  |  |
| 3 | RCC slab (60*60*10)cm (M:200, 1:1.5:3) | 190 | pcs |  |  |
| 4 | Wooden beam 8Cm Dia &120 Cm Length | 570 | No |  |  |
| 5 | Wooden beam 8Cm Dia &60 Cm Length | 570 | No |  |  |
| 6 | Wooden beam 12Cm Dia & 200 Cm Length | 760 | No |  |  |
| 7 | Wooden plank1.5 cm thick (timber) | 912 | m2 |  |  |
| 8 | Brick masonary with mud brick | 798 | m3 |  |  |
| 9 | Straw mud of roofing | 912 | m2 |  |  |
| 10 | Doors + windows with Painting | 397.1 | m2 |  |  |
| 11 | Mud plastaring | 5320 | m2 |  |  |
| 12 | PCC floor and stair | 38 | m2 |  |  |
| 13 | PVC pipe (4 inch dia non pressure L= 2,9 m) | 570 | m/L |  |  |
| 14 | PVC pipe with elbow 45(2 inch dia) | 380 | m/l |  |  |
| 15 | Project sign board | 190 | No |  |  |
|  | Total Amount |  |  |  |  |

| Lot#08 - Bill of Quantity (BoQ) for 190 Household Bathing Construction |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Province: Uruzgan |  |  |  |  |  |
| District: Trinkot |  |  |  |  |  |
| Village: Shah Mansoor, Kaftar Khana, Gogarak and Karizona (Baqir Kariz, Gul Jamee, Charmgar, Khairabad, Khosh Kharab, Safar Kariz and Shahwali Kariz) |  |  |  |  |  |
| No. | Item | Quantity | Unit | Unit cost AFN Incl Tax | Total cost AFN Incl Tax |
| 1 | Dry Stone masonry | 475 | m3 |  |  |
| 2 | Wooden beam 8Cm Dia &120 Cm Length | 570 | No |  |  |
| 3 | Wooden beam 8Cm Dia &60 Cm Length | 570 | No |  |  |
| 4 | Wooden beam 12Cm Dia & 200 Cm Length | 760 | No |  |  |
| 5 | Wooden plank1.5 cm thick (timber) | 912 | m2 |  |  |
| 6 | Brick masonary with mud brick | 798 | m3 |  |  |
| 7 | Straw mud of roofing | 912 | m2 |  |  |
| 8 | Doors + windows with Painting | 397.1 | m2 |  |  |
| 9 | Mud plastaring out side | 3678.4 | m2 |  |  |
| 10 | Cement plastaring in side | 2280 | m2 |  |  |
| 11 | PCC floor and stair | 76 | m2 |  |  |
| 12 | PVC pipe (4 inch dia non pressure L= 2,9 m) | 570 | m/L |  |  |
| 13 | PVC pipe with elbow 45(2 inch dia) | 380 | m/l |  |  |
| 14 | Project sign board | 190 | No |  |  |
|  | Total Amount |  |  |  |  |

| COMPANY INFORMATION |  |
| --- | --- |
| Company (legal name) |  |
| Street name and no. |  |
| City |  |
| Phone no. |  |
| Email |  |
| Website |  |
| Director (name) |  |

| REFERENCES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name and country of Contracting Authority | Type of works | Total value | Contact name | Phone/fax and email |

Include details of the experience and past performance on contracts of a similar nature within the past 3 years and information on other contracts in hand and contractually committed. Please attach available references and/or certificates of completion from the relevant contracting authorities.

| TECHNICAL QUALIFICATIONS |  |
| --- | --- |
| Comments on technical specifications and drawings |  |

Include details about plant proposed and available for the implementation of the Works Contract.

| COMPANY’S CONSTRUCTION PLANT |  |
| --- | --- |
| Specify* the construction plants (e.g. trenching machines, cranes and lifting equipment etc.) |  |
| Specify* the vehicles and trucks |  |
| Specify* other plants |  |

*The specifications must entail information on: no. of units, operation time, ownership/hire and approximate value in AFN.

# WORKPLAN

Please attach a work plan with brief descriptions of major activities, showing the sequence and proposed timetable for the execution of the works. In particular, the proposal shall detail the relevant activities, dates, allocation of labour and plant resources, temporary and permanent works to be constructed. The Candidate shall take account of the prevailing weather conditions and the requirement to prepare designs and obtain building permits prior to the execution of construction works.

The proposal is valid for a period of 30 days after the closing date in accordance with the article A.10. Validity.

After having read this Request for Proposal no. Lot No. 1/WASH RIDPsHC for Construction of WASH Structures dated September 15, 2020, and after having examined the Request for Proposal, I/we hereby offer to execute all Works described in the Technical Specifications and Requirements within the time frame described in the Technical Specifications and Requirements.

Any subsequent procurement related to this Quotation will be subject to the Contracting Authorities General Terms and Conditions for Supply Contracts and the Code of Conduct for Contractors available through the below link.  Printed versions are available on request.

https://www.kirkensnodhjelp.no/en/about-nca/for-contractors/

Further, I/we hereby:

- Accept, without restrictions, all the provisions in the Request for Proposal including the General Terms and Conditions for Works Contracts - Ver2 2018,

- Certify and attest compliance with eligibility criteria of article 59 of the General Terms and Conditions for Works - Ver2 2018.

- Certify and attest compliance with the Code of Conduct for Contractors.

- If our proposal is accepted, we undertake to provide a performance guarantee/prepayment guarantee of 8 % of the Contract value.

This declaration will be confirmed in the Contract and misrepresentation will be regarded as grounds for termination.

Note: Remember to initial every page of the contract.

Signature and stamp:

Signed by:

| The Candidate |  |
| --- | --- |
| Name of the company |  |
| Address |  |
| Telephone no. |  |
| Email |  |
| Name of contact person |  |